Project creation

Creating or opening a project

All data for a novoSNP project is stored in one project file (which is actually a portable, single file database). Each novoSNP session necessarily starts by either creating a new project file or opening an existing one from the File menu or the icon bar.

Adding a reference sequence

The next step is the addition of a reference sequence using the menu (Data -> Add refseq) or the button bar (). The reference sequence should be delivered in the FASTA, Genbank or EMBL format and must of course cover the entire area being resequenced. All information (positions of SNPs) will be relative to the reference sequence. If the file (Genbank or EMBL) contains annotation information, it is automatically imported and added the reference sequence. It is possible to add more than one reference sequence. Reference sequences are shown, and can be selected, in the tree window.

Adding runs (trace files)

The third step is usually the addition of runs. A run is directory containing trace files, preferably with forward and reverse reads covering the same region of the reference sequence. Optionally a run directory can contain run info files that contain information on sample names and primers.

One or more runs can be selected and added using the menu (Data -> Add runs) or the button bar (). The file dialog will allow you to select a directory. The subsequent dialog allows the selection of any or all possible runs in this directory (each subdirectory that contains traces, or the directory itself). Each run will be given the name of the directory. Some options are present in the add runs dialog such as setting the patterns to create sample names based on the file name of the traces. Options on how to deal with e.hg. incomplete matches are set in the Add run settings window

All data in the trace files in a run are stored in the database. If the trace files are not basecalled (have a sequence and base position data in them), they are automatically basecalled using Phred. However, Phred is not delivered with novoSNP, and can only be obtained separately and installed in the novoSNP directory (The phred executable and the phredpar.dat are should be in the subdirectory extern/phred). novoSNP can calculate simple quality values to clip the bad quality regions at start and end of the sequence. It can also use the quality values produced by the ABI KB basecaller and by phred.

Imported traces will be labeled with the name of the original trace file. Each trace also is assigned a sample name. This sample name is important as it is the name most prominently shown in the display, and it is also used to match forward and reverse reads. This has important effects in Scoring and reports Data about the traces can still be edited after import.

Once the traces are loaded, they are automatically aligned to the reference sequence, and checked for variations. All variations found and their associated quality scores are stored in the project file, and shown in the list in the bottom-left window of the display, where they can be selected for visual control.

Checking the alignment

Using the menu (Window -> Alignment) or the toolbar () the alignment of all traces in the currently selected run against the reference sequence can be checked. It is important to check this way how well the reference sequence is covered. Clipping because of lower sequence quality can make the region actually covered smaller than expected. Also, indels also reduce the actual coverage of the area. In the alignment windows, the position of variations are indicated by a colored background, ranging from near white to dark red according to the quality score given to the variation. Clicking on any position will change the main display to that position.